## Slide 1: EE 521/ECE 582 – Analysis of Power systems
Class #14 – October 13, 2022
Dr. Noel N. Schulz
Edmund O. Schweitzer III Chair in
Power Apparatus and Systems
Chief Scientist Joint Appointment, PNNL
Co-Director, PNNL/WSU Advanced Grid Institute (AGI)
Washington State University Pullman
Noel.Schulz@wsu.edu EME 35
509-335-0980 (o) and 509-336-5522 (c)

## Slide 2
Reminders
Student Hours This Week
  Tuesday 4:30-5:30 pm (after class) – Zoom or EME 35 Pullman
Check in Meetings
  Friday (Zoom or EME 35) - 11am -12 pm
  Monday (Zoom) - 2-3 pm
  Tuesday (EME 35 or Zoom) - 8:30-9:00 am or 4:30-5:30 pm
  Wednesday (EME 35 or Zoom) - 1:30-2:30 pm or 4-5 pm
Final Paper – Think about Topic - Oct 14

## Slide 3: Topics for Final Paper – Upload by Friday (10/14)
Keywords:
Power Flow
Newton Raphson
Fast Decoupled
Sparse Power Flow
Continuation Power Flow
State Estimation
Optimal Power Flow
Other Possible Aspects:
Distribution
AI/ML
Data Science
New Numerical Techniques
Power Electronics
Microgrids
Modeling of Renewable Energy Resources within Analysis
Modeling of Storage within Analysis

## Slide 4
Continuation Power Flow
P
PV curve
Nose curve
Let
where is loading profile
λ is loading parameter
λ is an extra unknown, add one more equ
When dλ + ve, load increasing
dλ - ve, load decreasing
dV - ve, voltage decreasing
Dr. Bose’s notes

## Slide 5
Predictor:
when
Corrector:
When P is changing, corrector is PF equation
V is changing, corrector is same as predictor
Dr. Bose’s notes

## Slide 6
2-Bus Example
Predictor:
Corrector:
=-.995Vcos
0
V
 |  | V | 
.1 | -.1017 | .9847 | .1
.1 | -.2105 | .9570 | .2
.1 | -.3354 | .9113 | .3
.1 | -.5050 | .8268 | .4
 |  | V | 
.1 | -.1017 | .9847 | .1
.1 | -.2105 | .9570 | .2
.1 | -.3354 | .9113 | .3
.1 | -.5050 | .8268 | .4
PF diverges
Dr. Bose’s notes

## Slide 7
Switch
Predictor:
Corrector:
=-.995Vcos
 |  | V | 
.025 | -.5474 | .8019 | .4174
.025 | -.5876 | .7769 | .4307
.025 | -.6260 | .7519 | .4405
.025 | -.6627 | .7269 | .4472
.025 | -.6981 | .7019 | .4511
.025 | -.7323 | .6769 | .4525
.025 | -.7654 | .6519 | .4517
.025 | -.7977 | .6269 | .4487
.025 | -.8291 | .6019 | .4438
.025 | -.8598 | .5769 | .4371
.025 | -.8899 | .5519 | .4288
.025 | -.9194 | .5269 | .4190
 |  | V | 
.025 | -.5474 | .8019 | .4174
.025 | -.5876 | .7769 | .4307
.025 | -.6260 | .7519 | .4405
.025 | -.6627 | .7269 | .4472
.025 | -.6981 | .7019 | .4511
.025 | -.7323 | .6769 | .4525
.025 | -.7654 | .6519 | .4517
.025 | -.7977 | .6269 | .4487
.025 | -.8291 | .6019 | .4438
.025 | -.8598 | .5769 | .4371
.025 | -.8899 | .5519 | .4288
.025 | -.9194 | .5269 | .4190
C
Dr. Bose’s notes

## Slide 8
Predictor:
 |  | V | 
.1 | -1.1088 | .3564 | .319
.1 | -1.2387 | .2317 | .219
.1 | -1.3496 | .1220 | .119
.1 | -1.4523 | .0191 | .019
 |  | V | 
.1 | -1.1088 | .3564 | .319
.1 | -1.2387 | .2317 | .219
.1 | -1.3496 | .1220 | .119
.1 | -1.4523 | .0191 | .019
Dr. Bose’s notes

## Slide 9
PDF’s on Canvas
Dr. Liu’s example
Two Reference Publications

## Slide 10: Announcements
Re-Review Sections 3.5.5 & 3.5.6
Start Reading Chapter 6
Set up Time for Program #1 Discussions if you haven’t
Remember to start on Discussion Set #2