## Slide 1: EE 521/ECE 582 – Analysis of Power systems
Class #19 – November 1, 2022
Dr. Noel N. Schulz
Edmund O. Schweitzer III Chair in
Power Apparatus and Systems
Chief Scientist Joint Appointment, PNNL
Co-Director, PNNL/WSU Advanced Grid Institute (AGI)
Washington State University Pullman
Noel.Schulz@wsu.edu EME 35
509-335-0980 (o) and 509-336-5522 (c)

## Slide 2
Reminders
Office Hours This Week
  Tuesday (WSU TC or Zoom) – 4:30-5:30 pm
  Wednesday (WSU TC or Zoom) – 4-5 pm
  Friday (EME 35 or Zoom) – 1:30-2:30 pm
  Other times by appt
This Week Classes:
  Tuesday Class via Zoom
  Thursday Class via Zoom
Discussion Set #3
Final Paper progress
Updates on Programs

## Slide 3: Discussion Set #3
Assignment #3 | Column A: Summarize (150 to 200 word summary of article) | Column B: List of three questions for class to answer? | Column C: Answer the Questions or Add to Discussions (Each response should be between 25 and 100 words)
See Canvas for Papers | Due: 11/8 | Due: 11/10 | Due: 11/18
Paper #1 | Noah Allison | Ninad Gaikwad | All students in class should respond to three of these papers.
Paper #2 | Sajjad Uddin Mahmud | Aryan Jha | All students in class should respond to three of these papers.
Paper #3 | Md Samiul Islam Sagar | Annika Lawrence | All students in class should respond to three of these papers.
Paper #4 | Saeed Salimi Amiri | Ben McCornack | All students in class should respond to three of these papers.
Paper #5 | Leonardo Stingini | Mauricio Silveira | All students in class should respond to three of these papers.
Paper #6 | Ke Wang | Augusto Zanin Bertoletti | All students in class should respond to three of these papers.
See assignment for articles

## Slide 4: Program #3 – Continuation Power Flow
Develop the Continuation Power Flow algorithm to determine the P-V curves for all the required buses in the IEEE 14 bus test case with taps. Do not worry about Q limits for this problem.

## Slide 5: Program #3 – Continuation Power Flow
Individual Programs #1 and #3
  Program #1 – Power Flow
  Program #3 – Continuation Power Flow
    Develop the Continuation Power Flow algorithm to determine the P-V curves for all the required buses in the IEEE 14 bus test case with taps. Do not worry about Q limits for this problem.
Group Project Option
  Programs #4, #5 and #2 (TBD) can be done in pairs
  Identify your partner by Nov 4 for all three remaining programs.
  Programs #4 and #5 discussed in detail on Thursday
  Can work alone if you want. Need to submit that you will not have a partner.

## Slide 6
Steepest Descent
In the Steepest Descent method, the solution process alternates between solving for x and u to minimize the augmented cost function.
The solution starts with a feasible solution (one that satisfies the equality constraint) and updates u in the direction of greatest change of the cost function (i.e. the direction of steepest descent towards the minimum)
Feasible solution:
Solve for :
(first derivative equation)
(second derivative equation)

## Slide 7
Substitute into third equation:
Gradient of C* with respect to u

## Slide 8
Steepest Descent Algorithm
Let k = 0. Guess an initial vector uk=u0.
Solve the (possibly nonlinear) system of equations for a feasible solution x.
Calculate and . If stop.
Calculate the new vector where  is a positive number which is the user-defined stepsize of the algorithm.
k=k+1. Go to step 2.

## Slide 9
At every step, the gradient is chosen such that the descent is in the steepest direction (i.e. normal to the constant cost curve)
The size of the step is determined by the steplength . A large steplength typically provides rapid convergence, but may oscillate around the minimum if too large.
curves of constant cost

## Slide 10
Example: Minimize
Subject to:
Take derivatives:
Use  = 0.05

## Slide 11
Calculate gradient:

## Slide 12
First iteration: Start with u = 1 and solve for x1 and x2 (feasible solution)
Two possible solutions (found using NR):
lowest cost
Calculating gradient:
Update u:

## Slide 13
Second iteration:
Two possible solutions (found using NR):
Calculating gradient:
Update u:
Converged?
(need to repeat)

## Slide 14
Third iteration:
Two possible solutions (found using NR):
This process continues until the final solution is reached
The final values are:
x1 = 0.5774,
x2 = ‒ 0.7354, and
u = 0.4605 which yield the minimum cost function f = 1.6270.

## Slide 15
Sequential Quadratic Programming
Gradient descent techniques work well for small nonlinear systems, but become inefficient as the dimension of the search space grows.
Sequential quadratic programming (SQP) optimization is more computationally efficient
The SQP is an iterative procedure that sequentially solves the QP problem to produce the solution to the original nonlinear problem in much the same way that the Newton-Raphson sequentially solves a series of linear problems to find the solution to a nonlinear problem.

## Slide 16
The SQP method solves the system
by using Lagrange multipliers

## Slide 17
The KKT conditions are
Lagrange multipliers
Slack variables

## Slide 18
Neglecting inequalities, the nonequations become:
Which can be solved using Newton-Raphson:
Or:

## Slide 19
Example: Minimize
Subject to:
Applying the KKT conditions:

## Slide 20
Nonlinear system of equations:
The Newton-Raphson iteration becomes

## Slide 22
Optimal Power Flow
The optimal power flow problem is to formulate the power flow problem to find system voltages and generated powers within the framework of the objective function.
In this application, the inputs to the power flow are systematically adjusted to maximize (or minimize) a scalar function of the power flow state variables.
The two most common objective functions are minimization of generating costs and minimization of active power losses.

## Slide 23
The case in which active power losses in the system are neglected, the optimal power flow problem is typically called the Economic Dispatch problem.
The individual generating unit costs are given as quadratic functions of generating power Pi
Minimize
Subject to:
Total system load

## Slide 24
Introduce Lagrangian multipliers:
Minimize:
Taking derivatives:
Linear system of equations

## Slide 25
Note that
 is called the “incremental cost” and this problem solution is known as the “equal incremental cost” rule.
Equal incremental cost rule
The optimal solution occurs when the incremental cost for each generator is the same. That implies that an incremental change in any generator’s output will result in the same incremental cost increase.

## Slide 26
Example: Three generators with the following cost functions serve a load of 952 MW.
Assuming a lossless system, calculate the optimal generation scheduling.
Using the equal incremental cost rule:

## Slide 27
Solving:
which yields a generating cost of $7,616/hr
The value of λ is the incremental or break-even cost of production.
The value of λ can provide insight into whether or not a utility should buy or sell generation.

## Slide 28
If a buyer is willing to pay $16/MW hr for generation, how much excess generation
should be produced and sold, and what is the profit for this transaction?
Rewriting:
Substituting = $16/MW hr into the generation equations:

## Slide 29
The excess generation is:
The new cost of generation is:
Amount received for sale of excess generation:
Therefore, the total cost is $8,670–1,088 = $7,580/hr. This amount is $34/hr less than the original cost of $7,616/hr; thus, $34/hr is the profit achieved from the sale of the excess generation at $16/MW hr.

## Slide 30
Utility incremental cost table:
What incremental corresponds to 10,000 MW?
1222
+160+240
+240+310
+320+380+220
+390+450+410
+470+520+590
+540+587+608+100+20
+587+110+130+30
+170+160+50
+230+200+60
+502+290+230+80
Units
Total generation
1222
1622
2172
3092
4342
5922
7777
8634
9014
9504
10606

## Slide 31
Using as a starting point, find the optimal scheduling of this system considering losses.
The cost functions of the generators are
Use the steepest descent method
From equal incremental cost rule

## Slide 32
Set up equations:
Gradient:
Cost function:
Equality constraints:
Why not P1?

## Slide 33
Find matrices:
System Jacobian

## Slide 34
Continuing:

## Slide 35
Start deepest descent iteration
Starting with find the corresponding x values (from powerflow):
Calculate matrices:
Per unit

## Slide 36
Gradient:
With  = 1
Proceeding until convergences yields the final powers:
with cost: $7,698/MWhr
Higher than the lossless case

## Slide 37
Limitations on Independent Variables (inputs):
Let
exceeded
If any Pi exceeds its limit, set it to its limit (i.e. P3 = 0.25 pu) and reduce the number of inputs by 1
The new partial derivatives become:
solving
with cost: $7,728/MWhr
Higher than the unconstrained case

## Slide 38
Limitations on Dependent Variables (states):
Let (the powerflow in line 2-3 – originally 121.1 MW)
Two approaches:
Soft constraint – violating the limiting factor is undesirable
Hard constraint – violating the limiting factor is catastrophic

## Slide 39
Soft constraint: Use Penalty Functions
A penalty function is a function that is small for values less than the limit, but increases rapidly if the limit is violated
The new cost function becomes:

## Slide 40
Use a penalty function to enforce the constraint
Let
The new partial derivatives are all the same except:
From penalty function

## Slide 41
Proceeding with the steepest gradient algorithm iterations yields the final constrained optimal generation scheduling:
with cost: $7,781/MWhr
Higher than the unconstrained case
and P23 = 101.2 MW.

## Slide 42
Hard constraint: Dual Variable Approach
In this approach, the inequality constraints are added as additional equality constraints with the inequality set equal to the limit (upper or lower) that is violated.
This introduces an additional set of Lagrangian multipliers. This is often referred to as the dual variable approach, because each inequality has the potential of resulting in two equalities: one for the upper limit and one for the lower limit.
However, the upper and lower limit cannot be simultaneously violated; thus, out of the possible set of additional Lagrangian multipliers only one of the two will be included at any given operating point and thus the dual limits are mutually exclusive.

## Slide 43
In this case, the additional equation is added:
This now increases the number of equality constraints to 3 (including the two original powerflow equations)
Therefore an additional unknown state is required
Choose PG3

## Slide 44
New Jacobian:

## Slide 47
Proceeding with the steepest gradient algorithm iterations yields the final constrained optimal generation scheduling:
with cost: $7,785/MWhr
and P23 = 100.0 MW.
Only slightly different from penalty function approach

## Slide 48: Announcements
Finish Chapter 6
Remember to start on Discussion Set #3
Work on your final paper
Set aside time for PROGRAMS – Try to have Program #1 done by Oct 31, if not sooner.
Start working on Program #3 when done with #1
This Week
Office Hours from Tri-Cities and via zoom on Tuesday & Wednesday
Class on Thursday from Tri-Cities
Office Hours for Friday via Zoom or EME 35